## Slide 1: Microscope Lesson and Lab
In this Science Force you will be learning how to use one of the most important tools in biology to view a variety of specimens.

## Slide 2: Microscopes One or more lenses that makes an enlarged image of an object.

## Slide 3
Fill in the microscope parts on your worksheet

## Slide 4: Part 1: Letter “e”
Step 1. Get a slide of the letter “e”.
Step 2. Place the slide on a white piece of paper find the specimen (the letter “e”) on the slide with your naked eye, noticing its location and orientation.
Step 3. Lock the low power objective lens into place (it should “snap” into place) Note: You will always start with either the low power or scanning objective when you want to view a slide.
Step 4. Use the coarse focus knob to move the stage (or objective lens) so that they are as far apart from each other as possible. Open the stage clip and place the slide snugly in the corner of the stage clip (make sure the slide is completely flat) before releasing the clip to hold the slide firmly in place. Then use the mechanical stage knobs to position the slide so that the specimen (i.e., letter “e”) is centered over the condenser and the light that passes through it.
Step 5. Next, using the coarse focus knob once again, move the slide and objective lens as close together as the knob will allow.
(NOTE: To this point, you have not yet looked into the oculars.)

## Slide 5: Letter “e”
Step 6. Now, look into the ocular lens(es). Using the coarse focus knob, SLOWLY increase the distance between the slide and objective until the specimen is in focus.
If you have difficulty locating and focusing on your specimen (the letter “e”), make sure that it is properly centered and you may need to adjust the course focus more slowly.
Step 7. Now use the fine focus knob to get the specimen in proper focus. You should now be able to see the object clearly. Before going to the next step (increasing the magnification), be sure to center your specimen in the field of view as best you can.
Step 8. Now that you have centered and focused the object as best you can at low power, rotate the high power objective into place over the slide being sure it “clicks” into position. Use the fine focus knob (NOT the coarse focus) to bring the object into perfect focus.
(NOTE AGAIN: You should only use the coarse adjustment knob with the low power objective)
Fill in your observations on you lab sheet!

## Slide 6: Part 2: Cells
All living organisms consist of one or more cells and come in a tremendous variety. There are single-celled prokaryotic organisms such as the bacteria, single-celled eukaryotic organisms such as the protozoa (e.g, Paramecium) and yeasts (a type of fungus), and multicellular eukaryotes such as most fungi (e.g., molds, mushrooms) and all members of the plant and animal kingdoms. Before you examine cells from some of these organisms, let’s review some of the general features of our three basic cell types:

## Slide 7: Use the Microscope to look at different types of cells
Now that you know how to use the microscope, select a prepared animal and plant slide. Use the same steps as you did with the letter “e” to observe the two types of cells.
Be sure to label and draw your observations on your lab sheet.

## Slide 8: Part 3: Pond Water
For this part of the lab you are going to create your own slide.
Using a pipette place a drop of pond water in the center of the slide, and then we carefully lower a clear cover slip on top, easing it gently from one edge first so as not to trap too many air bubbles.
Remember when making the slides that the edges are glass and may be very sharp.
Follow the same steps as above to observe the pond water slide.

## Slide 10: Final Step
Please clean up your lab. Make sure to put all slides away for the next group to use.